VRI

Environmental Services

VILLAGE OF MEDINA WWTF DISCHARGE QUALITY – February2007

VRI

- Environmental Services

Village Board

Village of Medina

600 Main Street

Medina, New York 14103

Re: Wastewater Treatment Plant – Facilities Operation Report.

The Village’s Facility treated on average 1,270,000 gallons per day in February 2007. New York State Discharge Permit {NYS-SPDES} limits were met over the period. Below are the projects completed and other significant notes. Daily operations/maintenance activities conducted as scheduled.

- Projects and significant events of record.

- Composting operation processed 11.549 tons processed.

- Removed 12 cubic feet of grit from influent.

- Greased all equipment.

- Weekly checks of overflow points conducted.

- Thawed Gas Compressor.

- Repaired air pressure switch on belt press.

- Replaced shear pin in flash mixer.

- Snow removal.

- Hoffman blower down – removed one clarifier from service due to lack of air. Pulled blower for service repair / check.

- Repair lab sink.

- Tractor tire repaired.

- One Primary Clarifier off line – Main Chain drive/ride gear sprocket is wore to point of chain slippage. Ordered replacement.

- Modern changed out lugger on Aggie Truck.

Steven C. Stauffer

Regional Manager

Valley River Inc.